## Process
2
|  |  | DECLARATION OF PERFORMANCE |  | No.: | 1 | Company's name: | Varde Ovne
[5 empty] | REVISION: | 3 | Adress: | Soldanen 12
[5 empty] | DATE OF ISSUE: | 2013-10-02 | Zip Code: | 7100
[7 empty] | Cuntry: | DK
[6 empty] | WRITTEN BY: PM |  | René Schultz
STOVE INSPECTION:
[6 empty] | APPROVED BY: CEO |  | Jan Meldgaard
PRODUCT NAME: |  |  | Aura 1,2,3,11&12
|  |  |  | Test |  | Test
Room heaters for solid fuel: |  |  |  | DIN EN 13240: 2001/AC:2006/DIN EN 13240:2001/A2:2004/AC:2007 |  | Art. 15a B-VG
STOVE APPROVAL PLACE:
TEKNOLOGISK INSTITUT
Kongsvangs Alle 29
8000 Århus C
DK
| Notifeid Body Number |  | 1235
STOVE APPROVAL PLACE:
| RRF |  |  | RRF-40143657 |  | RRF-40143657
Im Lipperfeld 34b
D-46047 Oberhausen
| Notifeid Body Number |  | 1625
System or systems of assessment and verfication of consistency of proformance of the construction products as set out in Annex V:
System 3
Fire Safety:
Harmonized technical specifications:
Distance from inflammable materials:
Minimum distances in mm:
|  | Back: | 125
|  | Sides: | 300
|  | Front: | 800
| Reaction to fire |  |  |  | A1
| Emission of the combustion productst: |  |  |  |  | 13% CO
| CO |  |  |  | 0.08% | 1000 mg/m³n
| OGC |  |  |  | 41 mg/MJ | 69 mg/m³n
| Dust: |  |  |  | 12 mg/MJ | 18 mg/m³n
| Nox |  |  |  | 79 mg/MJ | 120 mg/m³n
| Surface temperature: |  |  |  | OK
| Electrical Safety: |  |  |  | -----
| Cleanability: |  |  |  | OK
| Flue gas temperature at rated output: |  |  |  | 264 C.
| Mechanical craft (to carry a chimney): |  |  |  | OK
Heat output:
| Nominal heat output: |  |  |  | 5.0KW:
| Space heating output: |  |  |  | 5.0KW:
| Water heating capacity: |  |  |  | ----
| Efficiency: |  |  |  | 81%
Signed for and on behalv of manufacture by.:
Signature CEO:
Jan Meldgaard
Revision |  | Date of revision
1 |  | 2013-12-02
2 |  | 2013-12-17
3 |  | 2015-05-06
German
English